## Slide 1: Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty Master Thesis Mid-term Presentation
Chia-Ling Yang
Technical University Munich (TUM)
Chair of Production and Supply Chain Management
Prof. Dr. Martin Grunow
Superviosr: Bahar Okumusoglu
Munich, th of August 2024

## Slide 2: Agenda
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty
Background*
Problem Formulation* (what is challenging)
Literature Review*
Methodology
Implementation – Training Preliminary Result?
Outlook

## Slide 3: Background

## Slide 4
Talk about current power grid challenges:
Integration of Renewable energy
Increasing overall power consumption
Increasing power consumption from EV
Background
Problem Formulation
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty
Literature Review
Methodology
Outlook

## Slide 5
Background
Problem Formulation
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty
Literature Review
Methodology
Outlook
Bouckaert et al. "Net zero by 2050: A roadmap for the global energy sector." (2021).
Renewable Energy Integration
Energy Efficiency Enhancement
Low Carbon Emission Transportation
Notes: A roadmap for global energy sector proposed by International Energy Agency

## Slide 6: “Security- and Human-centered Energy Transition”
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty
Background
Problem Formulation
Literature Review
Methodology
Outlook
Rising Penetration of Intermittent Renewable Energy
Extreme Weather
High Uncertainty of Power Generation
Constantly Increasing Energy Demand
Rising Popularity of EVs
Increasing EV Charging Demand
IEA (2023), World Energy Outlook 2023, IEA, Paris https://www.iea.org/reports/world-energy-outlook-2023, Licence: CC BY 4.0 (report); CC BY NC SA 4.0 (Annex A)
Notes: A roadmap for global energy sector proposed by International Energy Agency

## Slide 7
Who cares about the problem? Why is the problem important for them?
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty
Background
Problem Formulation
Literature Review
Methodology
Outlook

## Slide 8
Possible solutions: mathematical optimization v.s. reinforcement learning
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 9
Explain more about RL
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty
Environment
Agent

## Slide 10
Project Goals
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 11: Problem Formulation

## Slide 12: Objective
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 13: Constraints
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 14: Literature Review

## Slide 15
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 16: Methodology

## Slide 17: Markov Decision Process
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 18: Actor-Critic Framework
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 19: PPO
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 20: Implementation - Training

## Slide 21: Critical Components in RL
Environment:
State:
Action:
Reward:
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 22: Uncertainty
Renewable power generation
Power consumption
Charging/discharging demands
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 23: Assumptions
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 24: Neural Network Architechture
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty

## Slide 25: Training Performance
Chia-Ling Yang | Exploring Reinforcement Learning Solutions for EV-aware Optimal Power Flow Under Uncertainty